## 작성안내
구분 | 작성 요청 내용
목적 | 기 등록된 Aviat MDM 213종을 기준으로 구성방식별 표준 BoM 수량을 확인하기 위한 양식
업체 작성 범위 | 노란색 칸 중 2+0, 4+0, 6+0, 8+0의 1개 링크 전체 필요 수량과 비고만 작성
주파수 | 품명에서 명시적으로 확인되는 경우만 당사에서 선기재했습니다. 공란 또는 오류는 업체에서 수정
Diversity | 필요 시 비고에 적용 차이를 설명하고, 별도 품목은 해당 행의 구성 수량에 반영

## 표준BoM_213종
▣ Aviat MDM 구성방식별 표준 BoM 작성표
※ 구성별 1개 링크 전체 수량 및 비고. 해당 구성에 사용하지 않는 품목은 0, 확인 불가는 공란.
순번 | 주파수 | K코드 | 품명 및 특성 | 단위 | 2+0 | 4+0 | 6+0 | 8+0 | Diversity/선택사양 | 비고
1 |  | K9090159 | HAX_랙 | EA
2 |  | K9090160 | HAX_전원분배반(PDP) | EA
3 | 8GHz | K9090161 | HAX_8GHz, ODU300sp, Low band | EA
4 | 8GHz | K9090162 | HAX_8GHz, ODU300sp, High band | EA
5 | 11GHz | K9090163 | HAX_11GHz, ODU300hp, Low band | EA
6 | 11GHz | K9090164 | HAX_11GHz, ODU300hp, High band | EA
7 |  | K9090165 | HAX_IDU300 20X V2_20E1 용 | EA
8 |  | K9090166 | HAX_IDU-INUe-SHELF | EA
9 |  | K9090167 | HAX_IDU-INUe-NCC | EA
10 |  | K9090168 | HAX_IDU-INUe-NPC | EA
11 |  | K9090169 | HAX_IDU-INUe-FAN | EA
12 |  | K9090170 | HAX_IDU-INUe-AUX | EA
13 |  | K9090171 | HAX_IDU-INUe-RAC30 | EA
14 |  | K9090172 | HAX_IDU-INUe-DAC GE | EA
15 |  | K9090173 | HAX_IDU-INUe-Blank | EA
16 |  | K9090174 | HAX_IDU/ODU간 IF 케이블,1Meter | EA
17 |  | K9090175 | HAX_E1 Y-케이블, 0.1Meter | EA
18 |  | K9210281 | HAX_커넥터 KIT_IF 케이블 종단용 | EA
19 | 8GHz | K9090177 | HAX_8G용 Waveguide WR112 UDR84/UDR84(3ft) | EA
20 | 11GHz | K9090178 | HAX_111G용 Waveguide WR90 UDR100/UDR100(3ft) | EA
21 |  | K9210280 | HAX_Arrestor KIT(N형 M,F콘넥터 각1EA 포함) | EA
22 | 8GHz | K9090180 | HAX_8G용 Coupler KIT | EA
23 | 11GHz | K9090181 | HAX_11G용 Coupler KIT | EA
24 |  | K9090182 | HAX_Pole Mount Kit | EA
25 |  | K9090183 | HAX_Install Tool | EA
26 |  | K9090184 | HAX_Orderwire IP 전화기 | EA
27 |  | K9090185 | HAX_CIT 소프트웨어_Portal | EA
28 |  | K9090186 | HAX_CIT용 컴퓨터_Desktop | EA
29 |  | K9090189 | HAX_Node License, 1Node | EA
30 |  | K9090209 | HAX_CIT 컴퓨터_notebook | EA
31 | 8GHz | K9093720 | HAX_8GHz, ODU300hp, Low band | EA
32 | 8GHz | K9093721 | HAX_8GHz, ODU300hp, High band | EA
33 |  | K9093722 | HAX_IDU GE 20X 20E1+Gigabit Ethernet 용 | EA
34 |  | K9210279 | HAX_Gigabit Ethernet SFP | EA
35 |  | K9093724 | HAX_IDU_INUe_DAC 16x | EA
36 |  | K9093725 | HAX_E1 분배반 | EA
37 |  | K9118257 | HAX_DS3 Y-Cable, Slimline BNC to Stnd BNC | EA
38 |  | K9118258 | Microwave_HAX_IDU_INUe_DAC 3xE3/DS3M | EA
39 | U6GHz | K9119263 | HAX_U6GHz ODU300hp Low Band | EA
40 |  | K9119264 | HAX_STM-1-SC | EA
41 |  | K9119265 | HAX_E1 Y-Cable_DAC 16x V2용 | EA
42 |  | K9119266 | HAX_DAC 16x V2 | EA
43 | L6GHz | K9119270 | HAX_L6GHz ODU300hp Low Band | EA
44 | L6GHz | K9119271 | HAX_L6GHz ODU300hp High Band | EA
45 | U6GHz | K9119272 | HAX_U6GHz ODU300hp High Band | EA
46 | 6GHz | K9119273 | HAX_6G용 Coupler KIT | EA
47 |  | K9119280 | HAX_FAN-2RU | EA
48 | 6GHz | K9119281 | HAX_6G용 W/G WR137 UDR70/PDR70 | EA
49 |  | K9175468 | HAX_IDU-INUe-RAC60 | EA
50 |  | K9175469 | HAX_IDU-INUe-DAC GE3 | EA
51 | 8GHz | K9175470 | HAX_8GHz, ODU600hp, Low band | EA
52 | 8GHz | K9175471 | HAX_8GHz, ODU600hp, High band | EA
53 |  | K9178534 | FLEXIBLE WAVEGUIDE, 7.125-8.500 GHZ, 1200MM, PDR84 FLANGES | EA
54 | L6GHz | K9183414 | HAX_L6GHz ODU600sp Low band | EA
55 | L6GHz | K9183415 | HAX_L6GHz ODU600sp High band | EA
56 | U6GHz | K9183416 | HAX_U6GHz ODU600sp Low band | EA
57 | U6GHz | K9183417 | HAX_U6GHz ODU600sp High band | EA
58 | 8GHz | K9183418 | HAX_8GHz ODU600sp Low band | EA
59 | 8GHz | K9183419 | HAX_8GHz ODU600sp High band | EA
60 | 11GHz | K9183420 | HAX_11GHz ODU600sp Low band | EA
61 | 11GHz | K9183421 | HAX_11GHz ODU600sp High band | EA
62 |  | K9183442 | HAX_IDU-INUe-RAC6XE | EA
63 |  | K9183443 | HAX_IDU GE3 16X 16E1+GbE | EA
64 |  | K9183444 | HAX_SFP to SFP Cable Assembley | EA
65 |  | K9183445 | HAX_Optical Y-Cable Assembly(LC-LC to LC) | EA
66 |  | K9183446 | HAX_IDU GE3 16X용 Full Node License | EA
67 |  | K9183447 | HAX_IDU-INUe용 Full Node License | EA
68 |  | K9188144 | CTR 8312 1RU Chassis | EA
69 |  | K9188145 | CTR 8540 1RU Chassis | EA
70 |  | K9188146 | CTR 8540 RACx2 Dual IF Radio Access Module | EA
71 |  | K9188147 | CTR 8540 Redundant Power Supply Module | EA
72 |  | K9188148 | CTR 8540 PoEx2 Module | EA
73 |  | K9188149 | CTR 8540 FAN Module | EA
74 | 11GHz | K9188150 | 11GHz, ODU600hp, Low band | EA
75 | 11GHz | K9188151 | 11GHz, ODU600hp, High band | EA
76 |  | K9188152 | ODU 600T, 8 GHz, TRANSCEIVER | EA
77 |  | K9188153 | ODU 600T, 11 GHz, TRANSCEIVER | EA
78 |  | K9188154 | 8 GHz OBU SINGLE POL, 4 PORT, PLAN A (6x40MHz) | EA
79 |  | K9188155 | 11 GHz OBU SINGLE POL, 4 PORT, PLAN A (12x40MHz) | EA
80 |  | K9210278 | SFP TSoP STM-1/OC3 over Gig-E Module | EA
81 |  | K9188157 | OBU Dummy Load | EA
82 |  | K9188158 | E1 Single Cable, 15m, for CTR 8312&8540 | EA
83 |  | K9188159 | FLEXIBLE WAVEGUIDE, 10.7-11.7 GHZ, 1200MM, PDR100 FLANGES | EA
84 |  | K9188160 | CTR 8312 Node License | EA
85 |  | K9188162 | CTR 8540 Node License | EA
86 |  | K9193433 | AVIAT_ANT-HP-DP-2FT-8 | EA
87 |  | K9193434 | AVIAT_ANT-HP-DP-2FT-11 | EA
88 |  | K9193435 | AVIAT_ANT-HP-DP-4FT-8 | EA
89 |  | K9193436 | AVIAT_ANT-HP-DP-4FT-11 | EA
90 |  | K9193437 | AVIAT_ANT-HP-DP-6FT-8 | EA
91 |  | K9193438 | AVIAT_ANT-HP-DP-6FT-11 | EA
92 |  | K9193439 | AVIAT_ANT-HP-DP-8FT-8 | EA
93 |  | K9193440 | AVIAT_ANT-HP-DP-8FT-11 | EA
94 |  | K9193441 | AVIAT_ANT-HP-DP-10FT-8 | EA
95 |  | K9193442 | AVIAT_ANT-HP-DP-10FT-11 | EA
96 | 8GHz | K9198293 | 8GHz ODU600v2 Low band | EA
97 |  | K9198316 | WTM 4200 Node License | EA
98 | 8GHz | K9198322 | 8GHz ODU600v2 High band | EA
99 | 11GHz | K9198323 | 11GHz ODU600v2 Low band | EA
100 | 11GHz | K9198324 | 11GHz ODU600v2 High band | EA
101 | 8GHz | K9198325 | 8GHz WTM 4200 Low band | EA
102 | 8GHz | K9198326 | 8GHz WTM 4200 High band | EA
103 | 11GHz | K9198327 | 11GHz WTM 4200 Low band | EA
104 |  | K9198328 | Gigabit Ethernet SFP_Industrial_-40~+85℃_실외형 | EA
105 |  | K9198330 | Remote Mount Bracket Assembly for ODU600v2 | EA
106 |  | K9198331 | GROUNDING KIT for WTM 4200, 3M | EA
107 | 11GHz | K9198336 | 11GHz WTM 4200 High band | EA
108 | 8GHz | K9198337 | 8G용 Coupler KIT for ODU 600v2 | EA
109 | 11GHz | K9198338 | 11G용 Coupler KIT for ODU 600v2 | EA
110 |  | K9198339 | Remote Mount Bracket Assembly for WTM4200 | EA
111 |  | K9198340 | WTM 4200 ODU600v2 8 GHz Waveguide Transition Kit | EA
112 |  | K9198341 | WTM 4200 ODU600v2 11 GHz Waveguide Transition Kit | EA
113 |  | K9198342 | WTM4200 PWR CABLE 100M | EA
114 |  | K9198343 | WTM4200 CABLE GLAND | EA
115 |  | K9198344 | POE INJECTOR, 112W 40 to 72VDC | EA
116 |  | K9198345 | Surge protector for WTM 4200 | EA
117 |  | K9198346 | WTM 4200 XPIC OUTDOOR CABLE ASSEMBLY TNC PLUG TO TNC PLUG, 1.5M | EA
118 |  | K9198347 | 10Gigabit Ethernet SFP_Industrial_-40~+85℃_실외형 | EA
119 |  | K9198348 | Multi-cable(Fiber 1 PWR 1) for WTM 4200, 50M | EA
120 |  | K9198349 | Multi-cable(Fiber 1 PWR 1) for WTM 4200, 100M | EA
121 | 8GHz | K9204012 | HAX_WTM4500XT 8GHz | EA
122 | 11GHz | K9204013 | HAX_WTM4500XT 11GHz | EA
123 | 8GHz | K9204014 | HAX_8GHz WBX 4 CHANNEL | EA
124 | 8GHz | K9204015 | HAX_8GHz WBX 4 CHANNEL SD OPTION | EA
125 | 8GHz | K9204016 | HAX_8GHz WBX 8 CHANNEL | EA
126 | 8GHz | K9204017 | HAX_8GHz WBX 8 CHANNEL SD OPTION | EA
127 | 11GHz | K9204018 | HAX_11GHz WBX 4 CHANNEL | EA
128 | 11GHz | K9204019 | HAX_11GHz WBX 4 CHANNEL SD OPTION | EA
129 | 11GHz | K9204020 | HAX_11GHz WBX 8 CHANNEL | EA
130 | 11GHz | K9204021 | HAX_11GHz WBX 8 CHANNEL SD OPTION | EA
131 |  | K9204022 | HAX_CTR8740 1RU CHSSIS | EA
132 |  | K9204023 | HAX_CTR8740 DUAL POWER SUPPLY | EA
133 |  | K9204024 | HAX_CABLE CAT5E OUTDOOR RJ-45 2M | EA
134 |  | K9204025 | HAX_CABLE CLAMP 8HOLE 5-7.5MM | EA
135 |  | K9204026 | HAX_WEATHERPROOFING KIT | EA
136 |  | K9204027 | HAX_MULTI POWER CABLE 100M | EA
137 |  | K9204028 | HAX_MULTI-FIBER CABLE 100M | EA
138 |  | K9204029 | HAX_MULTI-ETHERNET CABLE 100M | EA
139 |  | K9204030 | HAX_PROTECTOR MODULE | EA
140 |  | K9204031 | HAX_PROTECTOR MODULE BRACKET | EA
141 |  | K9204032 | HAX_GROUND CONDUCTOR | EA
142 |  | K9204033 | HAX_WTM4500 NODE LICENSE | EA
143 |  | K9204034 | HAX_CTR8740 NODE LICENSE | EA
144 |  | K9204035 | HAX_PROVISION PLUS WTM4500 | EA
145 |  | K9204036 | HAX_PROVISION PLUS CTR8740 | EA
146 |  | K9208698 | VR4 1RU CHASSIS | EA
147 |  | K9208699 | FAN-CV | EA
148 |  | K9208700 | VR10 3RU CHASSIS | EA
149 |  | K9208701 | VR10 MC-MV | EA
150 |  | K9208702 | FAN-MV | EA
151 |  | K9208703 | TERM-MV | EA
152 |  | K9208704 | PS-MV | EA
153 |  | K9208705 | MODEM-AV | EA
154 |  | K9208706 | GbE4f-AV | EA
155 |  | K9208707 | GbE4e-AV | EA
156 |  | K9208708 | XGbE-MV | EA
157 |  | K9208709 | 16E1-A | EA
158 |  | K9208710 | STM1-A | EA
159 |  | K9208711 | MC-MV Redundancy | EA
160 |  | K9208712 | MSE-A | EA
161 |  | K9208713 | AUX-A | EA
162 | 8GHz | K9208714 | 8GHz ODU IAP3 LOW | EA
163 | 8GHz | K9208715 | 8GHz ODU IAP3 HIGH | EA
164 | 11GHz | K9208716 | 11GHz ODU IAP3 LOW | EA
165 | 11GHz | K9208717 | 11GHz ODU IAP3 HIGH | EA
166 | 8GHz | K9208718 | 8G OBC2 CORE UNIT | EA
167 | 11GHz | K9208719 | 11G OBC2 CORE UNIT | EA
168 | 8GHz | K9208720 | 8G DUPLEXER UNIT | EA
169 | 11GHz | K9208721 | 11G DUPLEXER UNIT | EA
170 |  | K9208722 | U-LINK | EA
171 |  | K9208723 | TERMINAL UNIT | EA
172 |  | K9208724 | OBC2 Mounting Bracket Up to 4RF | EA
173 |  | K9208725 | OBC2 Mounting Bracket expand to 1RF | EA
174 | 8GHz | K9208726 | 7/8GHz FLAT HYBRID 7.125, Direct, UMT,3.7dB | EA
175 | 11GHz | K9208727 | 10/11GHz FLAT HYBRID 10.0, Direct, UMT,3.7dB | EA
176 | 8GHz | K9208728 | 7/8GHz IAP3 Mounting Bracket | EA
177 | 11GHz | K9208729 | 10/11GHz IAP3 Mounting Bracket | EA
178 |  | K9208730 | E1 Single Cable, 15m, for VR4/VR10 | EA
179 |  | K9208731 | MODEM INDOOR JUMBER CABLE, 3m, FOR VR4/VR10 | EA
180 |  | K9208732 | HEAD SET | EA
181 |  | K9208733 | VR4 Node License | EA
182 |  | K9208734 | VR10 Node License | EA
183 |  | K9208735 | PROVISION PLUS_500Node 기준 | EA
184 | 4GHz | K9210610 | HAX_WTM 4500XT 4GHz | EA
185 | 4GHz | K9210611 | HAX_4GHz WBX 4 CHANNEL | EA
186 | 4GHz | K9210612 | HAX_4GHz WBX 4 CHANNEL SD OPTION | EA
187 | 4GHz | K9210613 | HAX_4GHz WBX 8 CHANNEL | EA
188 | 4GHz | K9210614 | HAX_4GHz WBX 8 CHANNEL SD OPTION | EA
189 | L6GHz | K9210615 | HAX_L6GHz ODU IAP3 LOW | EA
190 | L6GHz | K9210616 | HAX_L6GHz ODU IAP3 HIGH | EA
191 | U6GHz | K9210617 | HAX_U6GHz ODU IAP3 LOW | EA
192 | U6GHz | K9210618 | HAX_U6GHz ODU IAP3 HIGH | EA
193 | 6GHz | K9210619 | 6G OBC2 CORE UNIT | EA
194 | 6GHz | K9210620 | 6G DUPLEXER UNIT | EA
195 | 6GHz | K9210621 | 6GHz FLAT HYBRID 5.900 Direct UMT 3.7dB | EA
196 | 6GHz | K9210622 | 6GHz IAP3 Mounting Bracket | EA
197 | 4GHz | K9210623 | FLEXIBLE LMR 600 CABLE 4GHz 1500MM N-TYPE MALE | EA
198 | 4GHz | K9210624 | FLEXIBLE LDF4-50A CABLE 4GHz 2000MM N-TYPE MALE | EA
199 | 4GHz | K9210625 | N-TYPE MALE TO PDR48 ADAPTER 4GHz | EA
200 |  | K9210626 | PDR48 FIXED CONNECTOR | EA
201 |  | K9210627 | STANDARD ELLIPTICAL WAVEGUIDE 1000MM | EA
202 |  | K9210628 | BUTTERFLY HANGER KIT | EA
203 |  | K9210629 | PRESSURE WINDOW | EA
204 |  | K9210630 | STANDARD AND UNIVERSIAL GROUNDING KIT | EA
205 | 6GHz | K9210631 | FLEXIBLE WAVEGUIDE 6GHz 1200MM PDR70 FLANGES | EA
206 |  | K9210632 | HAX_MULTI POWER CABLE 50M | EA
207 |  | K9210633 | HAX_MULTI POWER CABLE 75M | EA
208 |  | K9210634 | HAX_MULTI FIBER CABLE 50M | EA
209 |  | K9210635 | HAX_MULTI FIBER CABLE 75M | EA
210 |  | K9210636 | HAX_MULTI ETHERNET CABLE 50M | EA
211 |  | K9210637 | HAX_MULTI ETHERNET CABLE 75M | EA
212 |  | K9210638 | HAX_EMS CLIENT PC(NOTEBOOK) | EA
213 |  | K9210639 | HAX_EMS CLIENT PC(DESKTOP) | EA
수량 입력 품목 수 | [8 empty] | 구성별 숫자 입력 행 수